Virus free sterilization protocol:				(can be used for planting on soil or agar)

-Incubate seeds 10 minutes in 6 M HCl

-Rinse with H2O, 3 times.

-Incubate 15 minutes in 10% TSP (tri-sodium-phosphate.12H2O)

-Rinse with H2O, 3 times

-Put on soil like this

or do normal sterilization protocol afterwards when you want to grow on agar:

-10 minutes in diluted bleach

-Rinse 3 times with sterile H2O

-use sterile pipet tips! (blue tips must be cut)